## Data Tables
[146 empty] | 0 | 184.6897 | 186.3762 | 56.0155 | 59.4465 | 472.5615 | 4734.7243 | 0.10002 | 0.00022402
[146 empty] | 7.7151 | 184.6897 | 186.3762 | 56.0155 | 59.4465 | 471.8817 | 4725.4866 | 0.10001 | 0.00022051
Procedure Blanks |  | 36Ar | 1s | 37Ar | 1s | 38Ar | 1s | 39Ar | 1s | 40Ar | 1s | Intercept Values |  | 36Ar | 1s | r2 |  |  | 37Ar | 1s | r2 |  |  | 38Ar | 1s | r2 |  |  | 39Ar | 1s | r2 |  |  | 40Ar | 1s | r2 |  |  | Sample Parameters |  | Sample | Material | Location | Analyst | Temp | Standard | %1s | J | %1s | Fract | %1s | Volume Correction | Sensitivity | Day | Month | Year | Hour | Min | Resist | Irradiation | Project | Irradiation Constants |  | 40/36(a) | %1s | 38/36(a) | %1s | 39/37(ca) | %1s | 38/37(ca) | %1s | 36/37(ca) | %1s | 40/39(k) | %1s | 38/39(k) | %1s | 36/38(cl) | %1s | K/Ca | %1s | K/Cl | %1s | Ca/Cl | %1s | Incremental Heating |  |  | 36Ar(a) | 37Ar(ca) | 38Ar(cl) | 39Ar(k) | 40Ar(r) | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s | Normal Isochron |  |  | 39(k)/36(a) | ± 2s | 40(a+r)/36(a) | ± 2s |  |  | r.i. | Inverse Isochron |  |  | 39(k)/40(a+r) | ± 2s | 36(a)/40(a+r) | ± 2s |  |  | r.i. | Degassing Patterns |  |  | 36Ar(a) | 36Ar(ca) | 36Ar(cl) | 37Ar(ca) | 38Ar(a) | 38Ar(k) | 38Ar(ca) | 38Ar(cl) | 39Ar(k) | 39Ar(ca) | 40Ar(r) | 40Ar(a) | 40Ar(k) | Additional Ratios |  |  | 40(r)/39(k) | 1s | 40(r+a) | 1s | 37Ar(decay) | 39Ar(decay) | 40Ar(moles) | 7.7151 | 202.9324 | 200.5141 | 51.3125 | 46.5799 | 469.4091 | 4698.451 | 0.099989 | 0.00021724
[46 empty] | (in Ma) | [6 empty] | (mol/vol) | [40 empty] | (Ma) |  | (%) | (%) | [48 empty] | 11.8637 | 202.9324 | 200.5141 | 51.3125 | 46.5799 | 465.3123 | 4655.4599 | 0.099956 | 0.00021442
[146 empty] | 11.8637 | 239.2577 | 240.7273 | 32.5649 | 34.2279 | 459.8703 | 4599.4431 | 0.099913 | 0.00021226
M2BR085 | 6 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR085 | 6 | 0.00096831 | 2.6936e-05 |  | AVE | # | 0.0015192 | 1.4286e-05 | 0.98715 | LIN | # | 0.0055436 | 1.0467e-05 | 0.98371 | LIN | # 1 | 0.43033 | 8.8929e-05 | 0.99989 | LIN | # 1 | 4.3289 | 0.00091738 | 0.99983 | LIN | # 1 | M2BR085 | 6 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 6 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 10 | 22 | 1 | EK42 | S Carboniferous | M2BR085 | 6 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR085 | 6 |  | 0.00096896 | 0.0036645 | 0 | 0.43175 | 4.0394 | 185.53 | ± 0.84 | 93.3774 | 7.7151 | 57.731 | 1.7155 | M2BR085 | 6 |  | 445.5746 | 27.0028 | 4464.3219 | 270.4024 |  |  | 0.9994 | M2BR085 | 6 |  | 0.099808 | 0.00020958 | 0.000224 | 1.3567e-05 |  |  | 0.0018575 | M2BR085 | 6 |  | 0.00096896 | 9.9161e-07 | 0 | 0.0036645 | 0.0001811 | 0.0066187 | 7.952e-07 | 0 | 0.43175 | 2.4721e-06 | 4.0394 | 0.28633 | 0.00015975 | M2BR085 | 6 |  | 9.3561 | 0.022374 | 4.3258 | 0.0010513 | 2.4063 | 1.0003 | 8.6518e-17 | 18.1912 | 239.2577 | 240.7273 | 32.5649 | 34.2279 | 453.4542 | 4534.2179 | 0.099862 | 0.0002109
M2BR086 | 6.5 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR086 | 6.5 | 0.00019479 | 2.1331e-05 |  | AVE | # | 0.00096678 | 1.8839e-05 | 0.94717 | LIN | # | 0.0028156 | 1.7262e-05 | 0.79312 | LIN | # | 0.2314 | 6.6567e-05 | 0.99976 | LIN | # | 2.4306 | 0.0006488 | 0.99972 | LIN | # | M2BR086 | 6.5 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 6.5 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 10 | 49 | 1 | EK42 | S Carboniferous | M2BR086 | 6.5 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR086 | 6.5 |  | 0.00018641 | 0.0023241 | 0 | 0.23215 | 2.3724 | 201.72 | ± 1.21 | 97.7274 | 4.1485 | 48.9462 | 2.3663 | M2BR086 | 6.5 |  | 1245.4082 | 318.7925 | 13022.4136 | 3333.3049 |  |  | 0.99996 | M2BR086 | 6.5 |  | 0.095636 | 0.00020946 | 7.6791e-05 | 1.9656e-05 |  |  | 0.00081718 | M2BR086 | 6.5 |  | 0.00018641 | 6.289e-07 | 0 | 0.0023241 | 3.484e-05 | 0.0035589 | 5.0433e-07 | 0 | 0.23215 | 1.5678e-06 | 2.3724 | 0.055083 | 8.5897e-05 | M2BR086 | 6.5 |  | 10.2191 | 0.032372 | 2.4275 | 0.00082151 | 2.4072 | 1.0003 | 4.8551e-17 | 18.1912 | 278.9126 | 277.1881 | 25.6651 | 24.0963 | 446.501 | 4464.2295 | 0.099808 | 0.00021043
M2BR087 | 7 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR087 | 7 | 0.00020735 | 1.5003e-05 | 0.67496 | LIN | # | 0.002148 | 1.4455e-05 | 0.98604 | LIN | # | 0.0043348 | 1.42e-05 | 0.9232 | LIN | # | 0.35293 | 8.5969e-05 | 0.99979 | LIN | # | 4.4135 | 0.0010723 | 0.99974 | LIN | # | M2BR087 | 7 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 7 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 11 | 16 | 1 | EK42 | S Carboniferous | M2BR087 | 7 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR087 | 7 |  | 0.00019834 | 0.0051953 | 0 | 0.35409 | 4.3518 | 239.99 | ± 0.73 | 98.6682 | 6.3275 | 33.3964 | 0.8315 | M2BR087 | 7 |  | 1785.251 | 328.8637 | 22236.3024 | 4095.9432 |  |  | 0.99993 | M2BR087 | 7 |  | 0.080285 | 0.00017089 | 4.4972e-05 | 8.2838e-06 |  |  | 0.00073895 | M2BR087 | 7 |  | 0.00019834 | 1.4059e-06 | 0 | 0.0051953 | 3.707e-05 | 0.0054282 | 1.1274e-06 | 0 | 0.35409 | 3.5048e-06 | 4.3518 | 0.05861 | 0.00013101 | M2BR087 | 7 |  | 12.29 | 0.020094 | 4.4104 | 0.001187 | 2.4081 | 1.0003 | 8.8211e-17 | 22.9459 | 278.9126 | 277.1881 | 25.6651 | 24.0963 | 439.4847 | 4394.2474 | 0.099754 | 0.00021089
M2BR088 | 7.5 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR088 | 7.5 | 0.00010972 | 1.3143e-05 | 0.69007 | LIN | # 4 8 | 0.0021654 | 2.5457e-05 | 0.93177 | LIN | # | 0.0032408 | 1.5721e-05 | 0.72093 | LIN | # | 0.26521 | 6.2759e-05 | 0.99979 | LIN | # | 3.8623 | 0.00093881 | 0.99976 | LIN | # | M2BR088 | 7.5 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 7.5 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 11 | 52 | 1 | EK42 | S Carboniferous | M2BR088 | 7.5 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR088 | 7.5 |  | 9.9509e-05 | 0.0052401 | 0 | 0.26608 | 3.8298 | 278.05 | ± 0.86 | 99.2355 | 4.7547 | 24.8807 | 0.78443 | M2BR088 | 7.5 |  | 2673.9067 | 898.5946 | 38782.65 | 13033.0924 |  |  | 0.99998 | M2BR088 | 7.5 |  | 0.068946 | 0.00014683 | 2.5785e-05 | 8.6651e-06 |  |  | 0.00042651 | M2BR088 | 7.5 |  | 9.9509e-05 | 1.418e-06 | 0 | 0.0052401 | 1.8598e-05 | 0.004079 | 1.1371e-06 | 0 | 0.26608 | 3.535e-06 | 3.8298 | 0.029405 | 9.8449e-05 | M2BR088 | 7.5 |  | 14.3936 | 0.024082 | 3.8592 | 0.0010661 | 2.4093 | 1.0003 | 7.7187e-17 | 22.9459 | 302.8978 | 305.1173 | 20.9289 | 22.0708 | 432.8835 | 4329.0408 | 0.099703 | 0.00021224
M2BR089 | 8 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR089 | 8 | 9.4916e-05 | 1.4425e-05 | 0.27174 | LIN | # | 0.0018784 | 1.4484e-05 | 0.97585 | LIN | # 1 | 0.0024344 | 1.5508e-05 | 0.58938 | LIN | # | 0.19871 | 5.7757e-05 | 0.99966 | LIN | # | 3.1888 | 0.00078281 | 0.99975 | LIN | # | M2BR089 | 8 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 8 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 12 | 13 | 1 | EK42 | S Carboniferous | M2BR089 | 8 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR089 | 8 |  | 8.4718e-05 | 0.0045436 | 0 | 0.19936 | 3.1607 | 304.01 | ± 1.11 | 99.2119 | 3.5625 | 21.4998 | 0.57094 | M2BR089 | 8 |  | 2353.2196 | 987.1406 | 37603.4301 | 15773.9004 |  |  | 0.99999 | M2BR089 | 8 |  | 0.06258 | 0.00013552 | 2.6593e-05 | 1.1155e-05 |  |  | 0.00037561 | M2BR089 | 8 |  | 8.4718e-05 | 1.2295e-06 | 0 | 0.0045436 | 1.5834e-05 | 0.0030562 | 9.8596e-07 | 0 | 0.19936 | 3.0651e-06 | 3.1607 | 0.025034 | 7.3763e-05 | M2BR089 | 8 |  | 15.854 | 0.031443 | 3.1857 | 0.00093042 | 2.41 | 1.0003 | 6.3715e-17 | 26.5084 | 302.8978 | 305.1173 | 20.9289 | 22.0708 | 427.1471 | 4273.0532 | 0.09966 | 0.00021439
M2BR090 | 8.6 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR090 | 8.6 | 0.00012297 | 1.3284e-05 | 0.59467 | LIN | # | 0.0022627 | 1.4483e-05 | 0.97204 | LIN | # | 0.0026876 | 1.8105e-05 | 0.46801 | LIN | # | 0.21942 | 5.5577e-05 | 0.9997 | LIN | # 12 | 3.7074 | 0.001122 | 0.99958 | LIN | # 12 | M2BR090 | 8.6 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 8.6 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 12 | 43 | 1 | EK42 | S Carboniferous | M2BR090 | 8.6 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR090 | 8.6 | 4 | 0.00011286 | 0.0054805 | 0 | 0.22014 | 3.671 | 318.46 | ± 1.01 | 99.0975 | 3.9338 | 19.6819 | 0.47993 | M2BR090 | 8.6 | 4 | 1950.5492 | 581.9594 | 32822.8443 | 9792.7038 |  |  | 0.99997 | M2BR090 | 8.6 | 4 | 0.059427 | 0.00012892 | 3.0467e-05 | 9.0897e-06 |  |  | 0.00068115 | M2BR090 | 8.6 | 4 | 0.00011286 | 1.483e-06 | 0 | 0.0054805 | 2.1093e-05 | 0.0033747 | 1.1893e-06 | 0 | 0.22014 | 3.6972e-06 | 3.671 | 0.03335 | 8.1451e-05 | M2BR090 | 8.6 | 4 | 16.676 | 0.028956 | 3.7044 | 0.0012298 | 2.411 | 1.0003 | 7.4089e-17 | 26.5084 | 319.4691 | 317.4414 | 20.1618 | 19.202 | 422.6665 | 4230.1004 | 0.099626 | 0.00021719
M2BR091 | 9.2 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR091 | 9.2 | 0.00028941 | 2.1918e-05 |  | AVE | # 5 6 | 0.0025853 | 2.7088e-05 | 0.94245 | LIN | # 6 | 0.0030189 | 3.3474e-05 | 0.25058 | LIN | # 6 | 0.24612 | 0.00015282 | 0.99871 | LIN | # 6 | 4.2277 | 0.0016014 | 0.99948 | LIN | # | M2BR091 | 9.2 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 9.2 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 13 | 9 | 1 | EK42 | S Carboniferous | M2BR091 | 9.2 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR091 | 9.2 | 4 | 0.00028111 | 0.0062677 | 0 | 0.24692 | 4.1416 | 320.15 | ± 1.26 | 98.0316 | 4.4124 | 19.3038 | 0.56439 | M2BR091 | 9.2 | 4 | 878.371 | 152.5658 | 15028.3966 | 2610.095 |  |  | 0.9999 | M2BR091 | 9.2 | 4 | 0.058447 | 0.00014531 | 6.6541e-05 | 1.1557e-05 |  |  | 0.0014632 | M2BR091 | 9.2 | 4 | 0.00028111 | 1.696e-06 | 0 | 0.0062677 | 5.2539e-05 | 0.0037853 | 1.3601e-06 | 0 | 0.24692 | 4.2282e-06 | 4.1416 | 0.083068 | 9.136e-05 | M2BR091 | 9.2 | 4 | 16.773 | 0.035916 | 4.2246 | 0.001679 | 2.4118 | 1.0003 | 8.4495e-17 | 30.4422 | 319.4691 | 317.4414 | 20.1618 | 19.202 | 419.7471 | 4203.1094 | 0.099605 | 0.00022046
M2BR092 | 9.8 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR092 | 9.8 | 0.00052961 | 1.2222e-05 | 0.046798 | LIN | # | 0.0022877 | 1.72e-05 | 0.97263 | LIN | # | 0.0029601 | 7.7559e-06 | 0.74309 | LIN | # 12 | 0.23603 | 7.0921e-05 | 0.99967 | LIN | # | 4.008 | 0.0011142 | 0.99973 | LIN | # | M2BR092 | 9.8 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 9.8 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 13 | 34 | 1 | EK42 | S Carboniferous | M2BR092 | 9.8 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR092 | 9.8 | 4 | 0.00052443 | 0.0055451 | 0 | 0.2368 | 3.8499 | 311.13 | ± 0.94 | 96.1285 | 4.2316 | 20.9252 | 0.53604 | M2BR092 | 9.8 | 4 | 451.5436 | 27.782 | 7636.769 | 469.6181 |  |  | 0.99937 | M2BR092 | 9.8 | 4 | 0.059128 | 0.00012875 | 0.00013095 | 8.0524e-06 |  |  | 0.0027851 | M2BR092 | 9.8 | 4 | 0.00052443 | 1.5005e-06 | 0 | 0.0055451 | 9.8015e-05 | 0.0036302 | 1.2033e-06 | 0 | 0.2368 | 3.7407e-06 | 3.8499 | 0.15497 | 8.7616e-05 | M2BR092 | 9.8 | 4 | 16.2582 | 0.026836 | 4.0049 | 0.0012229 | 2.4127 | 1.0003 | 8.01e-17 | 30.4422 | 318.8959 | 321.4086 | 18.7394 | 19.8682 | 418.5877 | 4193.9195 | 0.099598 | 0.00022397
M2BR093 | 10.5 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR093 | 10.5 | 0.00060424 | 2.2669e-05 |  | AVE | # | 0.0014345 | 2.1737e-05 | 0.95052 | LIN | # | 0.0021972 | 1.7395e-05 | 0.48625 | LIN | # | 0.16977 | 8.0419e-05 | 0.99919 | LIN | # | 2.827 | 0.00095836 | 0.9996 | LIN | # | M2BR093 | 10.5 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 10.5 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 14 | 2 | 1 | EK42 | S Carboniferous | M2BR093 | 10.5 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR093 | 10.5 | 4 | 0.00060052 | 0.0034694 | 0 | 0.17032 | 2.6465 | 298.43 | ± 1.68 | 93.7141 | 3.0435 | 24.0549 | 0.92552 | M2BR093 | 10.5 | 4 | 283.6202 | 23.807 | 4702.5614 | 394.6108 |  |  | 0.99961 | M2BR093 | 10.5 | 4 | 0.060312 | 0.00014143 | 0.00021265 | 1.7844e-05 |  |  | 0.0029838 | M2BR093 | 10.5 | 4 | 0.00060052 | 9.3882e-07 | 0 | 0.0034694 | 0.00011224 | 0.002611 | 7.5286e-07 | 0 | 0.17032 | 2.3405e-06 | 2.6465 | 0.17745 | 6.3018e-05 | M2BR093 | 10.5 | 4 | 15.5386 | 0.047409 | 2.824 | 0.0010819 | 2.4136 | 1.0003 | 5.6481e-17 | 34.8545 | 318.8959 | 321.4086 | 18.7394 | 19.8682 | 419.2675 | 4203.1572 | 0.099605 | 0.00022749
M2BR094 | 11.4 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR094 | 11.4 | 0.00095535 | 1.6567e-05 | 0.096195 | LIN | # 11 | 0.0017397 | 1.9124e-05 | 0.96529 | LIN | # | 0.0027728 | 1.2735e-05 | 0.77225 | LIN | # | 0.2075 | 7.2984e-05 | 0.99954 | LIN | # | 3.4478 | 0.0011451 | 0.99959 | LIN | # | M2BR094 | 11.4 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 11.4 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 14 | 32 | 1 | EK42 | S Carboniferous | M2BR094 | 11.4 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR094 | 11.4 | 4 | 0.0009557 | 0.0042143 | 0 | 0.20818 | 3.1623 | 292.25 | ± 1.18 | 91.7996 | 3.7201 | 24.2049 | 0.75558 | M2BR094 | 11.4 | 4 | 217.8295 | 9.112 | 3604.3646 | 150.6017 |  |  | 0.99856 | M2BR094 | 11.4 | 4 | 0.060435 | 0.00013556 | 0.00027744 | 1.1592e-05 |  |  | 0.0056267 | M2BR094 | 11.4 | 4 | 0.0009557 | 1.1404e-06 | 0 | 0.0042143 | 0.00017862 | 0.0031914 | 9.1451e-07 | 0 | 0.20818 | 2.843e-06 | 3.1623 | 0.28241 | 7.7026e-05 | M2BR094 | 11.4 | 4 | 15.1902 | 0.03315 | 3.4447 | 0.0012508 | 2.4146 | 1.0003 | 6.8895e-17 | 34.8545 | 312.0692 | 310.1823 | 21.4613 | 20.3892 | 421.7401 | 4230.1928 | 0.099626 | 0.00023076
M2BR095 | 12.4 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR095 | 12.4 | 0.0012287 | 1.5742e-05 |  | AVE | # | 0.0023389 | 1.7513e-05 | 0.98214 | LIN | # 12 | 0.0037023 | 1.8286e-05 | 0.68131 | LIN | # | 0.27645 | 8.2849e-05 | 0.99971 | LIN | # 1 | 4.6016 | 0.0013345 | 0.99973 | LIN | # 1 | M2BR095 | 12.4 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 12.4 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 14 | 59 | 1 | EK42 | S Carboniferous | M2BR095 | 12.4 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR095 | 12.4 | 4 | 0.001232 | 0.0056766 | 0 | 0.27736 | 4.2344 | 293.62 | ± 0.95 | 92.081 | 4.9563 | 23.9413 | 0.61122 | M2BR095 | 12.4 | 4 | 225.1246 | 7.1499 | 3732.4812 | 118.3082 |  |  | 0.99764 | M2BR095 | 12.4 | 4 | 0.060315 | 0.00013145 | 0.00026792 | 8.4922e-06 |  |  | 0.0055761 | M2BR095 | 12.4 | 4 | 0.001232 | 1.5361e-06 | 0 | 0.0056766 | 0.00023026 | 0.0042519 | 1.2318e-06 | 0 | 0.27736 | 3.8294e-06 | 4.2344 | 0.36406 | 0.00010262 | M2BR095 | 12.4 | 4 | 15.267 | 0.026709 | 4.5985 | 0.001427 | 2.4155 | 1.0003 | 9.1971e-17 | 39.0861 | 312.0692 | 310.1823 | 21.4613 | 20.3892 | 425.8369 | 4273.1838 | 0.09966 | 0.00023357
M2BR096 | 13.4 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR096 | 13.4 | 0.0025293 | 1.6207e-05 | 0.48322 | LIN | # | 0.004343 | 2.488e-05 | 0.98844 | LIN | # | 0.0067697 | 2.2358e-05 | 0.80775 | LIN | # | 0.48649 | 9.183e-05 | 0.99985 | LIN | # 1 | 8.3287 | 0.0010993 | 0.99993 | LIN | # 1 | M2BR096 | 13.4 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 13.4 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 15 | 26 | 1 | EK42 | S Carboniferous | M2BR096 | 13.4 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR096 | 13.4 | 4 | 0.0025471 | 0.010565 | 0 | 0.48809 | 7.5728 | 298.02 | ± 0.73 | 90.9576 | 8.722 | 22.6368 | 0.50874 | M2BR096 | 13.4 | 4 | 191.6277 | 3.311 | 3268.6634 | 56.0916 |  |  | 0.99289 | M2BR096 | 13.4 | 4 | 0.058626 | 0.00012057 | 0.00030594 | 5.25e-06 |  |  | 0.0024134 | M2BR096 | 13.4 | 4 | 0.0025471 | 2.8589e-06 | 0 | 0.010565 | 0.00047605 | 0.0074824 | 2.2927e-06 | 0 | 0.48809 | 7.1273e-06 | 7.5728 | 0.75266 | 0.00018059 | M2BR096 | 13.4 | 4 | 15.5153 | 0.020751 | 8.3255 | 0.0012149 | 2.4164 | 1.0003 | 1.6651e-16 | 39.0861 | 296.7548 | 300.1116 | 23.1294 | 24.9804 | 431.2789 | 4329.2006 | 0.099703 | 0.00023574
M2BR097 | 14.4 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR097 | 14.4 | 0.00257 | 2.1633e-05 |  | AVE | # | 0.0057349 | 1.9035e-05 | 0.99464 | LIN | # 2 | 0.0078691 | 1.9583e-05 | 0.71509 | LIN | # 1 | 0.57954 | 8.8131e-05 | 0.99984 | LIN | # | 10.0371 | 0.0018211 | 0.99978 | LIN | # | M2BR097 | 14.4 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 14.4 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1.8 | 2e-17 | 14 | 3 | 2001 | 15 | 50 | 1 | EK42 | S Carboniferous | M2BR097 | 14.4 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR097 | 14.4 | 4 | 0.0046571 | 0.025135 | 0 | 1.0466 | 16.6847 | 305.56 | ± 0.75 | 92.3784 | 18.7024 | 20.4035 | 0.41238 | M2BR097 | 14.4 | 4 | 224.7314 | 4.59 | 3878.1282 | 78.8321 |  |  | 0.99491 | M2BR097 | 14.4 | 4 | 0.057948 | 0.00011927 | 0.00025786 | 5.2415e-06 |  |  | 0.0034101 | M2BR097 | 14.4 | 4 | 0.0046571 | 6.8014e-06 | 0 | 0.025135 | 0.00087042 | 0.016044 | 5.4542e-06 | 0 | 1.0466 | 1.6956e-05 | 16.6847 | 1.3762 | 0.00038724 | M2BR097 | 14.4 | 4 | 15.9418 | 0.021196 | 18.0609 | 0.003411 | 2.4172 | 1.0003 | 3.6123e-16 | 42.1296 | 296.7548 | 300.1116 | 23.1294 | 24.9804 | 437.695 | 4394.4258 | 0.099754 | 0.0002371
M2BR098 | 15.4 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR098 | 15.4 | 0.00194 | 1.8645e-05 |  | AVE | # | 0.0055365 | 1.388e-05 | 0.99544 | LIN | # | 0.00684 | 9.5301e-06 | 0.93183 | LIN | # | 0.51815 | 9.034e-05 | 0.99982 | LIN | # 1 | 9.1704 | 0.0020032 | 0.99974 | LIN | # 1 | M2BR098 | 15.4 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 15.4 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1.8 | 2e-17 | 14 | 3 | 2001 | 16 | 19 | 1 | EK42 | S Carboniferous | M2BR098 | 15.4 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR098 | 15.4 | 4 | 0.0035096 | 0.024273 | 0 | 0.93573 | 15.4638 | 315.83 | ± 0.76 | 93.713 | 16.7212 | 18.8895 | 0.37338 | M2BR098 | 15.4 | 4 | 266.6204 | 6.2644 | 4701.6589 | 110.0749 |  |  | 0.99607 | M2BR098 | 15.4 | 4 | 0.056708 | 0.00011796 | 0.00021269 | 4.9795e-06 |  |  | 0.0041855 | M2BR098 | 15.4 | 4 | 0.0035096 | 6.5683e-06 | 0 | 0.024273 | 0.00065594 | 0.014345 | 5.2673e-06 | 0 | 0.93573 | 1.6375e-05 | 15.4638 | 1.0371 | 0.00034622 | M2BR098 | 15.4 | 4 | 16.526 | 0.021578 | 16.5009 | 0.003725 | 2.4181 | 1.0003 | 3.3003e-16 | 42.1296 | 293.4324 | 291.0771 | 24.9605 | 23.4493 | 444.6482 | 4464.4143 | 0.099808 | 0.00023757
M2BR099 | 16.4 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR099 | 16.4 | 0.00063922 | 1.9255e-05 |  | AVE | # 1 | 0.0013646 | 4.8813e-05 | 0.72746 | LIN | # | 0.0015958 | 1.9021e-05 | 0.27138 | LIN | # 12 | 0.11495 | 5.0486e-05 | 0.99914 | LIN | # | 2.0947 | 0.00034176 | 0.9999 | LIN | # | M2BR099 | 16.4 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 16.4 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 16 | 46 | 1 | EK42 | S Carboniferous | M2BR099 | 16.4 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR099 | 16.4 | 4 | 0.00063597 | 0.0033066 | 0 | 0.11532 | 1.9037 | 315.52 | ± 2.09 | 91.0134 | 2.0607 | 17.0891 | 1.2976 | M2BR099 | 16.4 | 4 | 181.3284 | 12.6144 | 3288.9027 | 228.693 |  |  | 0.99947 | M2BR099 | 16.4 | 4 | 0.055133 | 0.00012498 | 0.00030405 | 2.1142e-05 |  |  | 0.0021332 | M2BR099 | 16.4 | 4 | 0.00063597 | 8.9476e-07 | 0 | 0.0033066 | 0.00011886 | 0.0017678 | 7.1753e-07 | 0 | 0.11532 | 2.2306e-06 | 1.9037 | 0.18793 | 4.2668e-05 | M2BR099 | 16.4 | 4 | 16.5082 | 0.059706 | 2.0916 | 0.00060644 | 2.419 | 1.0003 | 4.1834e-17 | 45.8497 | 293.4324 | 291.0771 | 24.9605 | 23.4493 | 451.6645 | 4534.3964 | 0.099862 | 0.00023711
M2BR100 | 18 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR100 | 18 | 0.0004996 | 1.8754e-05 |  | AVE | # 1 | 0.0012193 | 8.9126e-06 | 0.94451 | LIN | # 1 | 0.0012402 | 2.0118e-05 | 0.11669 | LIN | # 1 | 0.090477 | 1.9208e-05 | 0.99982 | LIN | # 1 | 1.6683 | 0.00036877 | 0.99983 | LIN | # 1 | M2BR100 | 18 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 18 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 17 | 30 | 1 | EK42 | S Carboniferous | M2BR100 | 18 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR100 | 18 | 4 | 0.00049475 | 0.0029538 | 0 | 0.090766 | 1.5191 | 319.51 | ± 2.55 | 91.2189 | 1.622 | 15.0571 | 0.43742 | M2BR100 | 18 | 4 | 183.4596 | 16.0271 | 3365.894 | 293.9753 |  |  | 0.99969 | M2BR100 | 18 | 4 | 0.054505 | 0.00011925 | 0.0002971 | 2.5948e-05 |  |  | 0.0029181 | M2BR100 | 18 | 4 | 0.00049475 | 7.9929e-07 | 0 | 0.0029538 | 9.2468e-05 | 0.0013914 | 6.4097e-07 | 0 | 0.090766 | 1.9926e-06 | 1.5191 | 0.1462 | 3.3583e-05 | M2BR100 | 18 | 4 | 16.7361 | 0.072735 | 1.6653 | 0.00062177 | 2.4205 | 1.0003 | 3.3306e-17 | 45.8497 | 292.6713 | 294.5676 | 23.3301 | 24.5526 | 458.2657 | 4599.6031 | 0.099913 | 0.00023576
M2BR101 | 34 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 2e-06 | 1e-05 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BR101 | 34 | 0.00037478 | 1.9225e-05 |  | AVE | # 12 | 0.0012077 | 1.8381e-05 | 0.82108 | LIN | # | 0.0010157 | 1.719e-05 |  | AVE | # 8 | 0.076185 | 2.3599e-05 | 0.9996 | LIN | # 1 | 1.4301 | 0.00032947 | 0.99982 | LIN | # 1 | M2BR101 | 34 | HS56 | Sanidine | Scottish Carboniferous | msp/jgi | 34 | 98.79 | 0.01 | 0.011577 | 0.1 | 0.997 | 0.1 | 1 | 2e-17 | 14 | 3 | 2001 | 18 | 30 | 1 | EK42 | S Carboniferous | M2BR101 | 34 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.49 | 0 | 0 | 0 | 0 | 0 | M2BR101 | 34 | 4 | 0.00036841 | 0.0029277 | 0 | 0.076427 | 1.3182 | 328.44 | ± 3.04 | 92.3695 | 1.3657 | 12.7913 | 0.50763 | M2BR101 | 34 | 4 | 207.4483 | 24.7618 | 3873.5504 | 462.301 |  |  | 0.99982 | M2BR101 | 34 | 4 | 0.053555 | 0.00012163 | 0.00025816 | 3.0811e-05 |  |  | 0.0026012 | M2BR101 | 34 | 4 | 0.00036841 | 7.9224e-07 | 0 | 0.0029277 | 6.8856e-05 | 0.0011716 | 6.3531e-07 | 0 | 0.076427 | 1.975e-06 | 1.3182 | 0.10887 | 2.8278e-05 | M2BR101 | 34 | 4 | 17.2479 | 0.08728 | 1.4271 | 0.00059914 | 2.4225 | 1.0003 | 2.8542e-17 | 50.806 | 292.6713 | 294.5676 | 23.3301 | 24.5526 | 464.0021 | 4655.5905 | 0.099956 | 0.00023361
[146 empty] | 50.806 | 298.7558 | 297.2861 | 23.1455 | 22.1281 | 468.4827 | 4698.5434 | 0.099989 | 0.0002308
[146 empty] | 59.528 | 298.7558 | 297.2861 | 23.1455 | 22.1281 | 471.4022 | 4725.5344 | 0.10001 | 0.00022753
[88 empty] | S | 0.017457 | 0.12078 | 0 | 5.5961 | 83.9222 | [28 empty] | S | 0.017457 | 3.2684e-05 | 0 | 0.12078 | 0.0032628 | 0.085788 | 2.621e-05 | 0 | 5.5961 | 8.148e-05 | 83.9222 | 5.1587 | 0.0020705 | [10 empty] | 59.528 | 304.8094 | 306.3042 | 19.9911 | 20.8159 | 472.5615 | 4734.7243 | 0.10002 | 0.00022402
[146 empty] | 78.2304 | 304.8094 | 306.3042 | 19.9911 | 20.8159
[146 empty] | 78.2304 | 316.5835 | 315.0703 | 19.2629 | 18.5161 | 1564.1892 | 16355.7184 | 0.095845 | 7.6807e-05
[122 empty] | S |  |  | 0.01749 | 0.12078 |  |  |  | 0.089077 |  | 5.5962 |  |  | 89.0829 | [10 empty] | 94.9516 | 316.5835 | 315.0703 | 19.2629 | 18.5161 | 1554.0266 | 16242.072 | 0.095838 | 7.1719e-05
[86 empty] | Information on Analysis |  |  |  | Results |  | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s | Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | [26 empty] | 94.9516 | 313.4214 | 317.6091 | 15.7915 | 18.3867 | 1522.8321 | 15909.0112 | 0.095817 | 6.6977e-05
[94 empty] | (Ma) |  |  | (%,n) | [9 empty] | (Ma) | [9 empty] | (Ma) | [28 empty] | 97.0123 | 313.4214 | 317.6091 | 15.7915 | 18.3867 | 1472.7317 | 15379.2335 | 0.095784 | 6.2903e-05
[146 empty] | 97.0123 | 322.052 | 316.9617 | 15.4945 | 14.6197 | 1407.1396 | 14688.8427 | 0.09574 | 5.9776e-05
[86 empty] | Sample | HS56 |  |  | Error Plateau |  | 16.0085 | 0.33226 | 306.73 | ± 5.88 | 370.0897 | 73.4916 | 19.3367 | 1.9441 | No Convergence |  |  | 53.4307 | 170.2935 | 16.7713 | 0.66951 | 320.12 | ± 11.72 | > 100 | Error Chron |  |  | 358.8112 | 327.6597 | 15.7931 | 0.96627 | 302.93 | ± 17.07 | > 100 | [26 empty] | 98.6343 | 322.052 | 316.9617 | 15.4945 | 14.6197 | 1330.5256 | 13884.8871 | 0.09569 | 5.7809e-05
[86 empty] | Material | Sanidine | [5 empty] | 2.076% |  | 1.917% |  | 12 | [6 empty] | 318.7% |  | 3.992% |  | 3.662% | [5 empty] | 91.32% |  | 6.118% |  | 5.635% | [27 empty] | 98.6343 | 325.4007 | 331.4787 | 12.2837 | 13.2989 | 1248.1111 | 13022.1557 | 0.095636 | 5.7135e-05
[86 empty] | Location | Scottish Carboniferous |  |  | External Error |  |  |  |  | ± 7.96 |  |  |  |  | External Error | [7 empty] | ± 12.99 |  | External Error | [7 empty] | ± 17.88 | [27 empty] | 100 | 325.4007 | 331.4787 | 12.2837 | 13.2989 | 1165.5124 | 12159.4419 | 0.095582 | 5.78e-05
[86 empty] | Analyst | msp/jgi |  |  | Analytical Error |  |  |  |  | ± 5.85 |  |  |  |  | Analytical Error | [7 empty] | ± 11.71 |  | Analytical Error | [7 empty] | ± 17.06 | [32 empty] | 1088.3585 | 11355.5385 | 0.095531 | 5.976e-05
[151 empty] | 1021.9072 | 10665.2288 | 0.095488 | 6.288e-05
[151 empty] | 970.6872 | 10135.5581 | 0.095454 | 6.6949e-05
[86 empty] | Project | S Carboniferous |  |  | Total Fusion Age |  | 14.9966 | 0.01472 | 288.81 | ± 0.59 |  | 17 | 22.7026 | 0.17212 | [51 empty] | 938.1889 | 9802.6217 | 0.095433 | 7.1688e-05
[86 empty] | Irradiation | EK42 | [5 empty] | 0.09816% |  | 0.2059% |  |  |  |  | Statistics |  |  | F ratio | 1.8307 |  | Convergence | 7.3308e-06 |  |  | Statistics |  |  | F ratio | 1.8307 |  | Convergence | 1.4264e-06 | [33 empty] | 926.6271 | 9689.1087 | 0.095426 | 7.6774e-05
[86 empty] | J-value | 0.011577 |  |  | External Error |  |  |  |  | ± 5.09 | [7 empty] | Error Magnification | > 10 |  | Number of Iterations | 1000 | [5 empty] | Error Magnification | > 10 |  | Number of Iterations | 15 | [33 empty] | 936.7897 | 9802.7548 | 0.095433 | 8.1862e-05
[86 empty] | Standard | 98.79 |  |  | Analytical Error |  |  |  |  | ± 0.26 | [7 empty] | n | 12 |  | Calculated Line | Weighted York-2 | [5 empty] | n | 12 |  | Calculated Line | Weighted York-2 | [33 empty] | 967.9841 | 10135.8153 | 0.095454 | 8.6605e-05
[151 empty] | 1018.0846 | 10665.5926 | 0.095488 | 9.0678e-05
[151 empty] | 1083.6766 | 11355.9826 | 0.095531 | 9.3805e-05
[151 empty] | 1160.2906 | 12159.9391 | 0.095582 | 9.5773e-05
[151 empty] | 1242.7051 | 13022.6705 | 0.095636 | 9.6447e-05
[151 empty] | 1325.3038 | 13885.3844 | 0.09569 | 9.5781e-05
[151 empty] | 1402.4578 | 14689.2882 | 0.09574 | 9.3821e-05
[151 empty] | 1468.909 | 15379.5974 | 0.095784 | 9.0701e-05
[151 empty] | 1520.1291 | 15909.2684 | 0.095817 | 8.6633e-05
[151 empty] | 1552.6274 | 16242.2051 | 0.095838 | 8.1894e-05
[151 empty] | 1564.1892 | 16355.7184 | 0.095845 | 7.6807e-05
[151 empty] | 2114.093 | 26332.2456 | 0.080456 | 4.4978e-05
[151 empty] | 2103.8651 | 26192.6013 | 0.08045 | 4.2833e-05
[151 empty] | 2071.9243 | 25783.3419 | 0.080433 | 4.0835e-05
[151 empty] | 2020.4471 | 25132.3575 | 0.080406 | 3.9118e-05
[151 empty] | 1952.9417 | 24284.0122 | 0.080371 | 3.7801e-05
[151 empty] | 1874.0085 | 23296.1182 | 0.08033 | 3.6972e-05
[151 empty] | 1789.0266 | 22236 | 0.080285 | 3.6688e-05
[151 empty] | 1703.7873 | 21175.9024 | 0.080241 | 3.6968e-05
[151 empty] | 1624.0998 | 20188.0697 | 0.0802 | 3.7794e-05
[151 empty] | 1555.3943 | 19339.8195 | 0.080165 | 3.911e-05
[151 empty] | 1502.3532 | 18688.9605 | 0.080137 | 4.0824e-05
[151 empty] | 1468.5912 | 18279.8469 | 0.08012 | 4.2822e-05
[151 empty] | 1456.409 | 18140.3592 | 0.080115 | 4.4965e-05
[151 empty] | 1466.6368 | 18280.003 | 0.08012 | 4.711e-05
[151 empty] | 1498.5776 | 18689.262 | 0.080137 | 4.9108e-05
[151 empty] | 1550.0547 | 19340.2459 | 0.080165 | 5.0825e-05
[151 empty] | 1617.56 | 20188.5903 | 0.0802 | 5.2142e-05
[151 empty] | 1696.4934 | 21176.4854 | 0.080241 | 5.2971e-05
[151 empty] | 1781.4753 | 22236.6036 | 0.080285 | 5.3255e-05
[151 empty] | 1866.7145 | 23296.7012 | 0.08033 | 5.2975e-05
[151 empty] | 1946.4021 | 24284.5345 | 0.080371 | 5.2149e-05
[151 empty] | 2015.1075 | 25132.7841 | 0.080406 | 5.0833e-05
[151 empty] | 2068.1486 | 25783.6434 | 0.080433 | 4.9119e-05
[151 empty] | 2101.9107 | 26192.7574 | 0.08045 | 4.7121e-05
[151 empty] | 2114.093 | 26332.2456 | 0.080456 | 4.4978e-05
[151 empty] | 3572.4834 | 51815.7423 | 0.069093 | 2.5788e-05
[151 empty] | 3543.332 | 51371.5495 | 0.069088 | 2.3546e-05
[151 empty] | 3454.9307 | 50069.4444 | 0.069073 | 2.1455e-05
[151 empty] | 3313.3038 | 47998.1626 | 0.06905 | 1.966e-05
[151 empty] | 3128.1033 | 45298.8601 | 0.069019 | 1.8282e-05
[151 empty] | 2911.9498 | 42155.4869 | 0.068984 | 1.7416e-05
[151 empty] | 2679.5742 | 38782.2618 | 0.068946 | 1.712e-05
[151 empty] | 2446.8124 | 35409.0631 | 0.068908 | 1.7414e-05
[151 empty] | 2229.5267 | 32265.7701 | 0.068873 | 1.8279e-05
[151 empty] | 2042.5246 | 29566.5878 | 0.068842 | 1.9655e-05
[151 empty] | 1898.5502 | 27495.4674 | 0.068819 | 2.1449e-05
[151 empty] | 1807.4152 | 26193.5495 | 0.068804 | 2.3538e-05
[151 empty] | 1775.33 | 25749.5576 | 0.068799 | 2.5781e-05
[151 empty] | 1804.4813 | 26193.7491 | 0.068804 | 2.8024e-05
[151 empty] | 1892.8826 | 27495.8531 | 0.068819 | 3.0114e-05
[151 empty] | 2034.5093 | 29567.1333 | 0.068842 | 3.1909e-05
[151 empty] | 2219.7096 | 32266.4327 | 0.068873 | 3.3287e-05
[151 empty] | 2435.8633 | 35409.8097 | 0.068908 | 3.4154e-05
[151 empty] | 2668.2389 | 38783.0347 | 0.068946 | 3.445e-05
[151 empty] | 2901.0008 | 42156.2334 | 0.068984 | 3.4156e-05
[151 empty] | 3118.2865 | 45299.5281 | 0.069019 | 3.3291e-05
[151 empty] | 3305.2885 | 47998.7085 | 0.06905 | 3.1914e-05
[151 empty] | 3449.263 | 50069.83 | 0.069073 | 3.012e-05
[151 empty] | 3540.3981 | 51371.7492 | 0.069088 | 2.8031e-05
[151 empty] | 3572.4834 | 51815.7423 | 0.069093 | 2.5788e-05
[151 empty] | 3340.3472 | 53377.3304 | 0.062715 | 2.6598e-05
[151 empty] | 3308.0254 | 52839.7658 | 0.062711 | 2.371e-05
[151 empty] | 3210.6352 | 51263.8705 | 0.062697 | 2.1019e-05
[151 empty] | 3054.8136 | 48757.0385 | 0.062676 | 1.8708e-05
[151 empty] | 2851.1795 | 45490.108 | 0.062648 | 1.6935e-05
[151 empty] | 2613.6102 | 41685.7112 | 0.062615 | 1.5819e-05
[151 empty] | 2358.2958 | 37603.1155 | 0.06258 | 1.5438e-05
[151 empty] | 2102.6355 | 33520.5412 | 0.062545 | 1.5817e-05
[151 empty] | 1864.0521 | 29716.2105 | 0.062512 | 1.693e-05
[151 empty] | 1658.8045 | 26449.3762 | 0.062484 | 1.8702e-05
[151 empty] | 1500.8802 | 23942.6751 | 0.062463 | 2.1012e-05
[151 empty] | 1401.0414 | 22366.9315 | 0.062449 | 2.3702e-05
[151 empty] | 1366.092 | 21829.5297 | 0.062444 | 2.6589e-05
[151 empty] | 1398.4137 | 22367.0928 | 0.062449 | 2.9476e-05
[151 empty] | 1495.8037 | 23942.9866 | 0.062463 | 3.2167e-05
[151 empty] | 1651.6253 | 26449.8167 | 0.062484 | 3.4478e-05
[151 empty] | 1855.2591 | 29716.7436 | 0.062512 | 3.6252e-05
[151 empty] | 2092.8287 | 33521.1448 | 0.062545 | 3.7367e-05
[151 empty] | 2348.1431 | 37603.7404 | 0.06258 | 3.7749e-05
[151 empty] | 2603.8034 | 41686.3149 | 0.062615 | 3.737e-05
[151 empty] | 2842.3869 | 45490.6476 | 0.062648 | 3.6256e-05
[151 empty] | 3047.6344 | 48757.4797 | 0.062676 | 3.4484e-05
[151 empty] | 3205.5588 | 51264.182 | 0.062697 | 3.2175e-05
[151 empty] | 3305.3976 | 52839.9271 | 0.062711 | 2.9485e-05
[151 empty] | 3340.3472 | 53377.3304 | 0.062715 | 2.6598e-05
[151 empty] | 2532.4933 | 42615.5481 | 0.059555 | 3.0473e-05
[151 empty] | 2513.7554 | 42281.8051 | 0.059551 | 2.812e-05
[151 empty] | 2456.6359 | 41303.4498 | 0.059538 | 2.5927e-05
[151 empty] | 2365.0274 | 39747.155 | 0.059518 | 2.4044e-05
[151 empty] | 2245.173 | 37718.981 | 0.059491 | 2.2598e-05
[151 empty] | 2105.2403 | 35357.1419 | 0.05946 | 2.1688e-05
[151 empty] | 1954.7658 | 32822.5956 | 0.059427 | 2.1377e-05
[151 empty] | 1804.004 | 30288.0664 | 0.059393 | 2.1685e-05
[151 empty] | 1663.229 | 27926.279 | 0.059362 | 2.2592e-05
[151 empty] | 1542.0342 | 25898.1815 | 0.059335 | 2.4035e-05
[151 empty] | 1448.6792 | 24341.9902 | 0.059315 | 2.5916e-05
[151 empty] | 1389.5258 | 23363.7548 | 0.059302 | 2.8108e-05
[151 empty] | 1368.6052 | 23030.1405 | 0.059298 | 3.046e-05
[151 empty] | 1387.343 | 23363.8825 | 0.059302 | 3.2813e-05
[151 empty] | 1444.4625 | 24342.2369 | 0.059315 | 3.5006e-05
[151 empty] | 1536.0709 | 25898.5304 | 0.059335 | 3.689e-05
[151 empty] | 1655.9252 | 27926.7023 | 0.059362 | 3.8335e-05
[151 empty] | 1795.858 | 30288.5442 | 0.059393 | 3.9245e-05
[151 empty] | 1946.3325 | 32823.0903 | 0.059427 | 3.9556e-05
[151 empty] | 2097.0943 | 35357.6197 | 0.05946 | 3.9248e-05
[151 empty] | 2237.8694 | 37719.4084 | 0.059491 | 3.8342e-05
[151 empty] | 2359.0641 | 39747.5044 | 0.059518 | 3.6898e-05
[151 empty] | 2452.4191 | 41303.6965 | 0.059538 | 3.5017e-05
[151 empty] | 2511.5726 | 42281.9328 | 0.059551 | 3.2825e-05
[151 empty] | 2532.4933 | 42615.5481 | 0.059555 | 3.0473e-05
[151 empty] | 1030.9213 | 17638.4916 | 0.058593 | 6.6558e-05
[151 empty] | 1026.2865 | 17549.5219 | 0.058588 | 6.3566e-05
[151 empty] | 1011.5716 | 17288.7417 | 0.058573 | 6.0777e-05
[151 empty] | 987.7792 | 16873.9227 | 0.05855 | 5.8381e-05
[151 empty] | 956.5309 | 16333.3344 | 0.05852 | 5.6541e-05
[151 empty] | 919.9561 | 15703.8164 | 0.058485 | 5.5382e-05
[151 empty] | 880.5474 | 15028.2699 | 0.058447 | 5.4984e-05
[151 empty] | 840.9903 | 14352.732 | 0.05841 | 5.5373e-05
[151 empty] | 803.9807 | 13723.2399 | 0.058375 | 5.6524e-05
[151 empty] | 772.0406 | 13182.6912 | 0.058345 | 5.8357e-05
[151 empty] | 747.3468 | 12767.9248 | 0.058322 | 6.0748e-05
[151 empty] | 731.5821 | 12507.2057 | 0.058307 | 6.3533e-05
[151 empty] | 725.8208 | 12418.3016 | 0.058302 | 6.6524e-05
[151 empty] | 730.4555 | 12507.271 | 0.058307 | 6.9515e-05
[151 empty] | 745.1705 | 12768.051 | 0.058322 | 7.2304e-05
[151 empty] | 768.9628 | 13182.8696 | 0.058345 | 7.47e-05
[151 empty] | 800.2111 | 13723.4573 | 0.058375 | 7.6541e-05
[151 empty] | 836.7859 | 14352.9761 | 0.05841 | 7.7699e-05
[151 empty] | 876.1947 | 15028.5226 | 0.058447 | 7.8097e-05
[151 empty] | 915.7517 | 15704.0604 | 0.058485 | 7.7708e-05
[151 empty] | 952.7613 | 16333.5529 | 0.05852 | 7.6558e-05
[151 empty] | 984.7014 | 16874.1012 | 0.05855 | 7.4724e-05
[151 empty] | 1009.3952 | 17288.8679 | 0.058573 | 7.2334e-05
[151 empty] | 1025.1599 | 17549.5872 | 0.058588 | 6.9548e-05
[151 empty] | 1030.9213 | 17638.4916 | 0.058593 | 6.6558e-05
[151 empty] | 479.3084 | 8106.3871 | 0.059256 | 0.00013097
[151 empty] | 478.6159 | 8090.3703 | 0.059252 | 0.00012888
[151 empty] | 476.0785 | 8043.4413 | 0.059239 | 0.00012694
[151 empty] | 471.8691 | 7968.7982 | 0.059219 | 0.00012527
[151 empty] | 466.2746 | 7871.528 | 0.059192 | 0.00012398
[151 empty] | 459.6761 | 7758.2592 | 0.059161 | 0.00012317
[151 empty] | 452.5235 | 7636.7112 | 0.059128 | 0.00012289
[151 empty] | 445.304 | 7515.167 | 0.059094 | 0.00012316
[151 empty] | 438.5098 | 7401.9099 | 0.059063 | 0.00012396
[151 empty] | 432.6038 | 7304.658 | 0.059037 | 0.00012524
[151 empty] | 427.9886 | 7230.0389 | 0.059016 | 0.0001269
[151 empty] | 424.9785 | 7183.1378 | 0.059003 | 0.00012884
[151 empty] | 423.7789 | 7167.1509 | 0.058999 | 0.00013092
[151 empty] | 424.4713 | 7183.1677 | 0.059003 | 0.00013301
[151 empty] | 427.0087 | 7230.0966 | 0.059016 | 0.00013495
[151 empty] | 431.2182 | 7304.7396 | 0.059037 | 0.00013662
[151 empty] | 436.8127 | 7402.0098 | 0.059063 | 0.00013791
[151 empty] | 443.4112 | 7515.2787 | 0.059094 | 0.00013872
[151 empty] | 450.5638 | 7636.8267 | 0.059128 | 0.000139
[151 empty] | 457.7833 | 7758.3708 | 0.059161 | 0.00013873
[151 empty] | 464.5775 | 7871.628 | 0.059192 | 0.00013793
[151 empty] | 470.4835 | 7968.8799 | 0.059219 | 0.00013666
[151 empty] | 475.0987 | 8043.499 | 0.059239 | 0.00013499
[151 empty] | 478.1087 | 8090.4002 | 0.059252 | 0.00013305
[151 empty] | 479.3084 | 8106.3871 | 0.059256 | 0.00013097
[151 empty] | 307.418 | 5097.1722 | 0.060453 | 0.0002127
[151 empty] | 306.7787 | 5083.7158 | 0.060448 | 0.00020808
[151 empty] | 304.5611 | 5044.2844 | 0.060434 | 0.00020377
[151 empty] | 300.9164 | 4981.5651 | 0.060412 | 0.00020007
[151 empty] | 296.093 | 4899.8323 | 0.060383 | 0.00019722
[151 empty] | 290.4197 | 4804.6556 | 0.060348 | 0.00019543
[151 empty] | 284.2829 | 4702.5215 | 0.060312 | 0.00019481
[151 empty] | 278.101 | 4600.3901 | 0.060275 | 0.0001954
[151 empty] | 272.2952 | 4505.2215 | 0.060241 | 0.00019717
[151 empty] | 267.2612 | 4423.5012 | 0.060212 | 0.00019999
[151 empty] | 263.3421 | 4360.7985 | 0.060189 | 0.00020368
[151 empty] | 260.8049 | 4321.3863 | 0.060175 | 0.00020798
[151 empty] | 259.8224 | 4307.9506 | 0.06017 | 0.0002126
[151 empty] | 260.4618 | 4321.4069 | 0.060175 | 0.00021722
[151 empty] | 262.6794 | 4360.8383 | 0.060189 | 0.00022153
[151 empty] | 266.3241 | 4423.5575 | 0.060212 | 0.00022523
[151 empty] | 271.1474 | 4505.2903 | 0.060241 | 0.00022808
[151 empty] | 276.8208 | 4600.467 | 0.060275 | 0.00022987
[151 empty] | 282.9576 | 4702.6012 | 0.060312 | 0.00023049
[151 empty] | 289.1395 | 4804.7326 | 0.060348 | 0.0002299
[151 empty] | 294.9452 | 4899.9012 | 0.060383 | 0.00022813
[151 empty] | 299.9792 | 4981.6215 | 0.060412 | 0.00022531
[151 empty] | 303.8984 | 5044.3242 | 0.060434 | 0.00022162
[151 empty] | 306.4356 | 5083.7364 | 0.060448 | 0.00021732
[151 empty] | 307.418 | 5097.1722 | 0.060453 | 0.0002127
[151 empty] | 226.9284 | 3754.9663 | 0.06057 | 0.00027751
[151 empty] | 226.7444 | 3749.827 | 0.060566 | 0.0002745
[151 empty] | 225.9528 | 3734.7748 | 0.060552 | 0.0002717
[151 empty] | 224.6077 | 3710.8353 | 0.060531 | 0.00026929
[151 empty] | 222.8006 | 3679.64 | 0.060503 | 0.00026744
[151 empty] | 220.6547 | 3643.3148 | 0.06047 | 0.00026626
[151 empty] | 218.3163 | 3604.3352 | 0.060435 | 0.00026585
[151 empty] | 215.9448 | 3565.3576 | 0.0604 | 0.00026623
[151 empty] | 213.7016 | 3529.0383 | 0.060367 | 0.00026737
[151 empty] | 211.7398 | 3497.8523 | 0.060339 | 0.0002692
[151 empty] | 210.193 | 3473.925 | 0.060318 | 0.00027159
[151 empty] | 209.1666 | 3458.8869 | 0.060304 | 0.00027438
[151 empty] | 208.7305 | 3453.7629 | 0.060299 | 0.00027738
[151 empty] | 208.9146 | 3458.9021 | 0.060304 | 0.00028038
[151 empty] | 209.7061 | 3473.9543 | 0.060318 | 0.00028318
[151 empty] | 211.0513 | 3497.8938 | 0.060339 | 0.00028559
[151 empty] | 212.8584 | 3529.0891 | 0.060367 | 0.00028745
[151 empty] | 215.0042 | 3565.4143 | 0.0604 | 0.00028862
[151 empty] | 217.3426 | 3604.3939 | 0.060435 | 0.00028903
[151 empty] | 219.7142 | 3643.3715 | 0.06047 | 0.00028866
[151 empty] | 221.9573 | 3679.6908 | 0.060503 | 0.00028751
[151 empty] | 223.9192 | 3710.8768 | 0.060531 | 0.00028568
[151 empty] | 225.466 | 3734.8041 | 0.060552 | 0.00028329
[151 empty] | 226.4924 | 3749.8422 | 0.060566 | 0.00028051
[151 empty] | 226.9284 | 3754.9663 | 0.06057 | 0.00027751
[151 empty] | 232.2577 | 3850.7895 | 0.060446 | 0.00026797
[151 empty] | 232.1412 | 3846.7506 | 0.060442 | 0.00026577
[151 empty] | 231.5465 | 3834.9244 | 0.060429 | 0.00026371
[151 empty] | 230.5141 | 3816.1169 | 0.060408 | 0.00026195
[151 empty] | 229.1145 | 3791.6098 | 0.060381 | 0.00026059
[151 empty] | 227.4429 | 3763.0732 | 0.060349 | 0.00025973
[151 empty] | 225.6134 | 3732.4518 | 0.060315 | 0.00025943
[151 empty] | 223.7506 | 3701.8323 | 0.060281 | 0.0002597
[151 empty] | 221.9813 | 3673.3016 | 0.060249 | 0.00026054
[151 empty] | 220.4263 | 3648.8038 | 0.060222 | 0.00026188
[151 empty] | 219.1915 | 3630.0085 | 0.060201 | 0.00026363
[151 empty] | 218.361 | 3618.1966 | 0.060188 | 0.00026567
[151 empty] | 217.9914 | 3614.173 | 0.060184 | 0.00026787
[151 empty] | 218.1079 | 3618.2118 | 0.060188 | 0.00027007
[151 empty] | 218.7026 | 3630.038 | 0.060201 | 0.00027212
[151 empty] | 219.735 | 3648.8454 | 0.060222 | 0.00027389
[151 empty] | 221.1346 | 3673.3525 | 0.060249 | 0.00027525
[151 empty] | 222.8062 | 3701.8892 | 0.060281 | 0.00027611
[151 empty] | 224.6357 | 3732.5106 | 0.060315 | 0.00027641
[151 empty] | 226.4985 | 3763.13 | 0.060349 | 0.00027613
[151 empty] | 228.2678 | 3791.6608 | 0.060381 | 0.0002753
[151 empty] | 229.8228 | 3816.1586 | 0.060408 | 0.00027396
[151 empty] | 231.0576 | 3834.9539 | 0.060429 | 0.00027221
[151 empty] | 231.8881 | 3846.7658 | 0.060442 | 0.00027016
[151 empty] | 232.2577 | 3850.7895 | 0.060446 | 0.00026797
[151 empty] | 194.9153 | 3324.755 | 0.058746 | 0.00030595
[151 empty] | 194.9049 | 3322.8377 | 0.058742 | 0.00030459
[151 empty] | 194.6712 | 3317.2286 | 0.05873 | 0.00030332
[151 empty] | 194.2301 | 3308.3099 | 0.058711 | 0.00030223
[151 empty] | 193.6116 | 3296.6893 | 0.058686 | 0.0003014
[151 empty] | 192.858 | 3283.1587 | 0.058657 | 0.00030087
[151 empty] | 192.0204 | 3268.6404 | 0.058626 | 0.00030069
[151 empty] | 191.1562 | 3254.1236 | 0.058594 | 0.00030086
[151 empty] | 190.324 | 3240.5977 | 0.058565 | 0.00030138
[151 empty] | 189.5807 | 3228.9844 | 0.05854 | 0.00030221
[151 empty] | 188.9769 | 3220.0751 | 0.058521 | 0.0003033
[151 empty] | 188.5537 | 3214.4771 | 0.058509 | 0.00030456
[151 empty] | 188.3401 | 3212.5718 | 0.058505 | 0.00030592
[151 empty] | 188.3504 | 3214.489 | 0.058509 | 0.00030728
[151 empty] | 188.5842 | 3220.0981 | 0.058521 | 0.00030855
[151 empty] | 189.0253 | 3229.0169 | 0.05854 | 0.00030964
[151 empty] | 189.6437 | 3240.6375 | 0.058565 | 0.00031048
[151 empty] | 190.3974 | 3254.168 | 0.058594 | 0.000311
[151 empty] | 191.2349 | 3268.6864 | 0.058626 | 0.00031119
[151 empty] | 192.0992 | 3283.2032 | 0.058657 | 0.00031101
[151 empty] | 192.9314 | 3296.7291 | 0.058686 | 0.00031049
[151 empty] | 193.6747 | 3308.3424 | 0.058711 | 0.00030966
[151 empty] | 194.2785 | 3317.2516 | 0.05873 | 0.00030857
[151 empty] | 194.7016 | 3322.8496 | 0.058742 | 0.00030731
[151 empty] | 194.9153 | 3324.755 | 0.058746 | 0.00030595
[151 empty] | 229.2982 | 3956.9603 | 0.058068 | 0.00025787
[151 empty] | 229.2619 | 3954.2673 | 0.058064 | 0.00025652
[151 empty] | 228.9168 | 3946.3855 | 0.058052 | 0.00025525
[151 empty] | 228.2866 | 3933.852 | 0.058033 | 0.00025416
[151 empty] | 227.414 | 3917.5211 | 0.058008 | 0.00025333
[151 empty] | 226.3587 | 3898.5056 | 0.057979 | 0.0002528
[151 empty] | 225.1924 | 3878.1015 | 0.057948 | 0.00025261
[151 empty] | 223.9947 | 3857.6991 | 0.057918 | 0.00025279
[151 empty] | 222.8472 | 3838.689 | 0.057889 | 0.00025331
[151 empty] | 221.8282 | 3822.3666 | 0.057864 | 0.00025414
[151 empty] | 221.0069 | 3809.8442 | 0.057845 | 0.00025522
[151 empty] | 220.4395 | 3801.9753 | 0.057833 | 0.00025648
[151 empty] | 220.1646 | 3799.296 | 0.057829 | 0.00025784
[151 empty] | 220.2009 | 3801.9891 | 0.057833 | 0.0002592
[151 empty] | 220.5459 | 3809.8709 | 0.057845 | 0.00026046
[151 empty] | 221.1762 | 3822.4043 | 0.057864 | 0.00026155
[151 empty] | 222.0487 | 3838.7352 | 0.057889 | 0.00026239
[151 empty] | 223.1041 | 3857.7507 | 0.057918 | 0.00026291
[151 empty] | 224.2704 | 3878.1548 | 0.057948 | 0.0002631
[151 empty] | 225.468 | 3898.5572 | 0.057979 | 0.00026292
[151 empty] | 226.6155 | 3917.5673 | 0.058008 | 0.0002624
[151 empty] | 227.6346 | 3933.8898 | 0.058033 | 0.00026158
[151 empty] | 228.4558 | 3946.4121 | 0.058052 | 0.00026049
[151 empty] | 229.0232 | 3954.2811 | 0.058064 | 0.00025923
[151 empty] | 229.2982 | 3956.9603 | 0.058068 | 0.00025787
[151 empty] | 272.8603 | 4811.7338 | 0.056826 | 0.00021271
[151 empty] | 272.7908 | 4807.975 | 0.056822 | 0.00021142
[151 empty] | 272.3008 | 4796.9709 | 0.05681 | 0.00021022
[151 empty] | 271.4236 | 4779.4714 | 0.056791 | 0.00020918
[151 empty] | 270.2191 | 4756.6692 | 0.056767 | 0.00020839
[151 empty] | 268.7694 | 4730.1181 | 0.056738 | 0.00020789
[151 empty] | 267.1732 | 4701.6276 | 0.056708 | 0.00020771
[151 empty] | 265.5394 | 4673.1392 | 0.056677 | 0.00020788
[151 empty] | 263.9792 | 4646.5944 | 0.056649 | 0.00020837
[151 empty] | 262.599 | 4623.8021 | 0.056624 | 0.00020916
[151 empty] | 261.4929 | 4606.3156 | 0.056606 | 0.00021018
[151 empty] | 260.7362 | 4595.3266 | 0.056594 | 0.00021138
[151 empty] | 260.3805 | 4591.584 | 0.05659 | 0.00021267
[151 empty] | 260.45 | 4595.3428 | 0.056594 | 0.00021396
[151 empty] | 260.94 | 4606.3469 | 0.056606 | 0.00021516
[151 empty] | 261.8172 | 4623.8463 | 0.056624 | 0.0002162
[151 empty] | 263.0217 | 4646.6485 | 0.056649 | 0.00021699
[151 empty] | 264.4714 | 4673.1997 | 0.056677 | 0.0002175
[151 empty] | 266.0676 | 4701.6902 | 0.056708 | 0.00021767
[151 empty] | 267.7014 | 4730.1786 | 0.056738 | 0.00021751
[151 empty] | 269.2616 | 4756.7234 | 0.056767 | 0.00021701
[151 empty] | 270.6418 | 4779.5157 | 0.056791 | 0.00021623
[151 empty] | 271.7479 | 4797.0022 | 0.05681 | 0.0002152
[151 empty] | 272.5046 | 4807.9912 | 0.056822 | 0.000214
[151 empty] | 272.8603 | 4811.7338 | 0.056826 | 0.00021271
[151 empty] | 193.9362 | 3517.5957 | 0.055258 | 0.0003041
[151 empty] | 193.6126 | 3509.7973 | 0.055254 | 0.00029863
[151 empty] | 192.4519 | 3486.9454 | 0.055242 | 0.00029352
[151 empty] | 190.5332 | 3450.5971 | 0.055222 | 0.00028914
[151 empty] | 187.9872 | 3403.2297 | 0.055196 | 0.00028577
[151 empty] | 184.9873 | 3348.071 | 0.055166 | 0.00028364
[151 empty] | 181.7382 | 3288.8801 | 0.055133 | 0.00028291
[151 empty] | 178.4611 | 3229.6908 | 0.055101 | 0.00028362
[151 empty] | 175.3794 | 3174.5367 | 0.055071 | 0.00028572
[151 empty] | 172.7031 | 3127.1763 | 0.055045 | 0.00028907
[151 empty] | 170.6146 | 3090.8374 | 0.055025 | 0.00029344
[151 empty] | 169.2562 | 3067.9963 | 0.055013 | 0.00029854
[151 empty] | 168.7206 | 3060.2096 | 0.055008 | 0.00030401
[151 empty] | 169.0441 | 3068.008 | 0.055013 | 0.00030948
[151 empty] | 170.2048 | 3090.8599 | 0.055025 | 0.00031458
[151 empty] | 172.1235 | 3127.2082 | 0.055045 | 0.00031897
[151 empty] | 174.6696 | 3174.5755 | 0.055071 | 0.00032234
[151 empty] | 177.6694 | 3229.7343 | 0.055101 | 0.00032446
[151 empty] | 180.9186 | 3288.9251 | 0.055133 | 0.00032519
[151 empty] | 184.1957 | 3348.1145 | 0.055166 | 0.00032449
[151 empty] | 187.2774 | 3403.2686 | 0.055196 | 0.00032239
[151 empty] | 189.9536 | 3450.6289 | 0.055222 | 0.00031904
[151 empty] | 192.0421 | 3486.9679 | 0.055242 | 0.00031466
[151 empty] | 193.4005 | 3509.809 | 0.055254 | 0.00030957
[151 empty] | 193.9362 | 3517.5957 | 0.055258 | 0.0003041
[151 empty] | 199.4817 | 3659.8693 | 0.054625 | 0.00029718
[151 empty] | 199.0393 | 3649.8467 | 0.054621 | 0.00029046
[151 empty] | 197.5352 | 3620.4732 | 0.054609 | 0.00028419
[151 empty] | 195.0719 | 3573.7505 | 0.05459 | 0.00027881
[151 empty] | 191.8172 | 3512.8628 | 0.054565 | 0.00027467
[151 empty] | 187.993 | 3441.9594 | 0.054536 | 0.00027205
[151 empty] | 183.8598 | 3365.8723 | 0.054505 | 0.00027115
[151 empty] | 179.6993 | 3289.7866 | 0.054475 | 0.00027201
[151 empty] | 175.7951 | 3218.8876 | 0.054446 | 0.00027459
[151 empty] | 172.4132 | 3158.0068 | 0.054421 | 0.00027869
[151 empty] | 169.7841 | 3111.2931 | 0.054402 | 0.00028405
[151 empty] | 168.087 | 3081.9301 | 0.05439 | 0.00029031
[151 empty] | 167.4375 | 3071.9188 | 0.054386 | 0.00029702
[151 empty] | 167.8798 | 3081.9414 | 0.05439 | 0.00030374
[151 empty] | 169.3839 | 3111.3148 | 0.054402 | 0.00031
[151 empty] | 171.8472 | 3158.0374 | 0.054421 | 0.00031539
[151 empty] | 175.1019 | 3218.9251 | 0.054446 | 0.00031953
[151 empty] | 178.9262 | 3289.8286 | 0.054475 | 0.00032214
[151 empty] | 183.0594 | 3365.9157 | 0.054505 | 0.00032305
[151 empty] | 187.2198 | 3442.0014 | 0.054536 | 0.00032218
[151 empty] | 191.124 | 3512.9004 | 0.054565 | 0.00031961
[151 empty] | 194.5059 | 3573.7812 | 0.05459 | 0.0003155
[151 empty] | 197.135 | 3620.4949 | 0.054609 | 0.00031014
[151 empty] | 198.8322 | 3649.8579 | 0.054621 | 0.00030389
[151 empty] | 199.4817 | 3659.8693 | 0.054625 | 0.00029718
[151 empty] | 232.2056 | 4335.8514 | 0.053677 | 0.00025825
[151 empty] | 231.4837 | 4320.0924 | 0.053673 | 0.00025027
[151 empty] | 229.1237 | 4273.9023 | 0.05366 | 0.00024283
[151 empty] | 225.2866 | 4200.4288 | 0.053641 | 0.00023644
[151 empty] | 220.2338 | 4104.6792 | 0.053616 | 0.00023152
[151 empty] | 214.3098 | 3993.1785 | 0.053587 | 0.00022842
[151 empty] | 207.9181 | 3873.5253 | 0.053555 | 0.00022735
[151 empty] | 201.4944 | 3753.8739 | 0.053524 | 0.00022838
[151 empty] | 195.4765 | 3642.3783 | 0.053494 | 0.00023144
[151 empty] | 190.2744 | 3546.6365 | 0.053469 | 0.00023631
[151 empty] | 186.2427 | 3473.1735 | 0.05345 | 0.00024268
[151 empty] | 183.6561 | 3426.9954 | 0.053438 | 0.0002501
[151 empty] | 182.6909 | 3411.2494 | 0.053433 | 0.00025808
[151 empty] | 183.4129 | 3427.0084 | 0.053438 | 0.00026605
[151 empty] | 185.7729 | 3473.1984 | 0.05345 | 0.00027349
[151 empty] | 189.61 | 3546.6718 | 0.053469 | 0.00027989
[151 empty] | 194.6627 | 3642.4213 | 0.053494 | 0.0002848
[151 empty] | 200.5868 | 3753.9222 | 0.053524 | 0.0002879
[151 empty] | 206.9785 | 3873.5753 | 0.053555 | 0.00028897
[151 empty] | 213.4022 | 3993.2268 | 0.053587 | 0.00028794
[151 empty] | 219.4201 | 4104.7225 | 0.053616 | 0.00028489
[151 empty] | 224.6222 | 4200.4642 | 0.053641 | 0.00028001
[151 empty] | 228.6539 | 4273.9272 | 0.05366 | 0.00027364
[151 empty] | 231.2405 | 4320.1053 | 0.053673 | 0.00026622
[151 empty] | 232.2056 | 4335.8514 | 0.053677 | 0.00025825

## Age Plateau
SC1F5056.AGE >>> HS56 >>> S Carboniferous
Ar-Ages in Ma
Weighted Plateau
306.73 ± 5.88
Total Fusion
288.81 ± 0.59
Normal Isochron
320.12 ± 11.72
Inverse Isochron
302.93 ± 17.07
MSWD
370.09
Sample Info
Sanidine
Scottish Carboniferous
msp/jgi
EK42
0.011577 (J)

## K-Ca Plateau
SC1F5056.AGE >>> HS56 >>> S Carboniferous
Ar-Ages in Ma
Weighted Plateau
306.73 ± 5.88
Total Fusion
288.81 ± 0.59
Normal Isochron
320.12 ± 11.72
Inverse Isochron
302.93 ± 17.07
Sample Info
Sanidine
Scottish Carboniferous
msp/jgi
EK42
0.011577 (J)

## Normal Isochron
SC1F5056.AGE >>> HS56 >>> S Carboniferous
Ar-Ages in Ma
Weighted Plateau
306.73 ± 5.88
Total Fusion
288.81 ± 0.59
Normal Isochron
320.12 ± 11.72
Inverse Isochron
302.93 ± 17.07
MSWD
> 100
Sample Info
Sanidine
Scottish Carboniferous
msp/jgi
EK42
0.011577 (J)

## Inverse Isochron
SC1F5056.AGE >>> HS56 >>> S Carboniferous
Ar-Ages in Ma
Weighted Plateau
306.73 ± 5.88
Total Fusion
288.81 ± 0.59
Normal Isochron
320.12 ± 11.72
Inverse Isochron
302.93 ± 17.07
MSWD
> 100
Sample Info
Sanidine
Scottish Carboniferous
msp/jgi
EK42
0.011577 (J)