## Ark1
LA-ICP-MS line analysis of U-Pb concentration in zircons - samples EST_12 and EST_112
| Isotope ratios - Concordia output |  |  |  |  | Age estimates (Ma) | [6 empty] | Concentrations
Analysis_# | Pb207 U235 | 1s% | Pb206 U238 | 1s% | roh | Pb207 Pb206 | 1s | Pb207 U235 | 1s | Pb206 U238 | 1s | conc | Th/U | U | Th | Pbtot | Core/Rim | grey analyses are omitted from final age calculation
EST12_001 | 0.6789 | 1.49 | 0.08465 | 1.03 | 0.69 | 536 | 24 | 526 | 6.1 | 524 | 5.2 | 98 | 0.4 | 1286 | 512 | 128 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_004 | 0.6311 | 1.51 | 0.07899 | 1.03 | 0.68 | 529 | 25 | 497 | 5.9 | 490 | 4.8 | 93 | 0.45 | 842 | 379 | 79 | Core
EST12_005 | 0.6491 | 1.49 | 0.08197 | 1.02 | 0.69 | 509 | 23 | 508 | 5.9 | 508 | 5 | 100 | 0.49 | 1428 | 702 | 141 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_006 | 0.6371 | 1.56 | 0.08004 | 1.02 | 0.66 | 520 | 26 | 501 | 6.1 | 496 | 4.9 | 95 | 0.33 | 952 | 313 | 89 | Core
EST12_008 | 0.6856 | 1.5 | 0.0867 | 1.03 | 0.68 | 506 | 24 | 530 | 6.2 | 536 | 5.3 | 106 | 0.37 | 1261 | 469 | 127 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_009 | 0.6441 | 1.53 | 0.0794 | 0.99 | 0.65 | 561 | 25 | 505 | 6 | 493 | 4.7 | 88 | 0.41 | 1068 | 434 | 101 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_012 | 0.6662 | 1.54 | 0.0842 | 1 | 0.65 | 506 | 26 | 518 | 6.2 | 521 | 5 | 103 | 0.39 | 1548 | 610 | 154 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_013 | 0.6616 | 1.54 | 0.08326 | 1 | 0.65 | 515 | 25 | 516 | 6.2 | 516 | 5 | 100 | 0.44 | 1006 | 440 | 100 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_014 | 0.656 | 1.53 | 0.08225 | 1 | 0.65 | 523 | 25 | 512 | 6.1 | 510 | 4.9 | 97 | 0.49 | 1558 | 766 | 156 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_015 | 0.6388 | 1.55 | 0.08112 | 1 | 0.64 | 495 | 26 | 502 | 6.1 | 503 | 4.8 | 102 | 0.39 | 1116 | 432 | 106 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_016 | 0.6111 | 1.56 | 0.0786 | 0.99 | 0.64 | 466 | 27 | 484 | 6 | 488 | 4.7 | 105 | 0.34 | 676 | 229 | 62 | Core
EST12_019 | 0.6167 | 1.56 | 0.07764 | 0.99 | 0.64 | 514 | 26 | 488 | 6 | 482 | 4.6 | 94 | 0.43 | 836 | 363 | 77 | Core
EST12_022 | 0.6247 | 1.57 | 0.07984 | 0.99 | 0.63 | 480 | 27 | 493 | 6.1 | 495 | 4.7 | 103 | 0.36 | 1076 | 391 | 100 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_023 | 0.6598 | 1.55 | 0.08212 | 0.99 | 0.63 | 539 | 27 | 515 | 6.3 | 509 | 4.8 | 94 | 0.4 | 1355 | 542 | 132 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_025 | 0.6409 | 1.56 | 0.0801 | 0.99 | 0.63 | 530 | 27 | 503 | 6.2 | 497 | 4.7 | 94 | 0.57 | 2057 | 1168 | 203 | Core | detector switched to analogue mode, U/Pb not reliable
EST12_002 | 0.6495 | 1.98 | 0.07999 | 1.08 | 0.54 | 564 | 36 | 508 | 7.9 | 496 | 5.1 | 88 | 0.19 | 84 | 16 | 8 | Rim | >10% discordant
EST12_003 | 0.6215 | 2.84 | 0.07626 | 1.18 | 0.42 | 572 | 55 | 491 | 11 | 474 | 5.4 | 83 | 0.19 | 62 | 12 | 5 | Rim | >10% discordant
EST12_007 | 0.6202 | 2.12 | 0.07764 | 1.08 | 0.51 | 528 | 40 | 490 | 8.2 | 482 | 5 | 91 | 0.18 | 69 | 12 | 6 | Rim
EST12_010 | 0.6358 | 1.81 | 0.07947 | 1.03 | 0.57 | 530 | 33 | 500 | 7.1 | 493 | 4.9 | 93 | 0.51 | 280 | 143 | 27 | Rim
EST12_011 | 0.6017 | 1.96 | 0.07715 | 1.04 | 0.53 | 474 | 37 | 478 | 7.4 | 479 | 4.8 | 101 | 0.19 | 93 | 18 | 8 | Rim
EST12_017 | 0.5941 | 2.14 | 0.07786 | 1.05 | 0.49 | 425 | 40 | 474 | 8.1 | 483 | 4.9 | 114 | 0.21 | 80 | 17 | 7 | Rim
EST12_018 | 0.5913 | 2.02 | 0.07736 | 1.03 | 0.51 | 429 | 38 | 472 | 7.6 | 480 | 4.8 | 112 | 0.31 | 148 | 46 | 13 | Rim
EST12_020 | 0.6068 | 2.12 | 0.07632 | 1.05 | 0.5 | 516 | 40 | 482 | 8.1 | 474 | 4.8 | 92 | 0.18 | 116 | 21 | 10 | Rim
EST12_021 | 0.5978 | 2.07 | 0.07706 | 1.04 | 0.5 | 462 | 40 | 476 | 7.8 | 479 | 4.8 | 104 | 0.24 | 109 | 26 | 9 | Rim
EST12_024 | 0.6384 | 2.74 | 0.07948 | 1.13 | 0.41 | 538 | 55 | 501 | 10.8 | 493 | 5.4 | 92 | 0.23 | 90 | 21 | 8 | Rim
EST112_001 | 5.278 | 1.5 | 0.32078 | 0.81 | 0.54 | 1946 | 23 | 1865 | 12.8 | 1794 | 12.7 | 92 | 0.85 | 39 | 33 | 19
EST112_002 | 1.6844 | 1.46 | 0.16419 | 0.77 | 0.53 | 1052 | 25 | 1003 | 9.3 | 980 | 7.1 | 93 | 0.31 | 142 | 44 | 28
EST112_003 | 0.5313 | 1.53 | 0.06869 | 0.77 | 0.5 | 456 | 29 | 433 | 5.4 | 428 | 3.2 | 94 | 0.67 | 388 | 258 | 36
EST112_004 | 0.53 | 1.39 | 0.06859 | 0.76 | 0.55 | 454 | 25 | 432 | 4.9 | 428 | 3.2 | 94 | 0.67 | 771 | 519 | 70
EST112_005 | 2.017 | 1.34 | 0.18611 | 0.76 | 0.56 | 1162 | 22 | 1121 | 9.1 | 1100 | 7.7 | 95 | 0.18 | 571 | 102 | 123
EST112_006 | 1.9584 | 1.32 | 0.18334 | 0.76 | 0.57 | 1133 | 22 | 1101 | 8.9 | 1085 | 7.6 | 96 | 0.58 | 467 | 269 | 114
EST112_007 | 0.5199 | 1.74 | 0.06706 | 0.81 | 0.46 | 461 | 34 | 425 | 6 | 418 | 3.2 | 91 | 0.57 | 274 | 157 | 24
EST112_008 | 4.9705 | 1.33 | 0.30594 | 0.76 | 0.57 | 1924 | 19 | 1814 | 11.2 | 1721 | 11.5 | 89 | 0.18 | 225 | 41 | 82
EST112_009 | 1.965 | 1.38 | 0.18395 | 0.77 | 0.56 | 1134 | 22 | 1104 | 9.3 | 1089 | 7.7 | 96 | 0.43 | 201 | 86 | 46
EST112_010 | 1.8172 | 1.4 | 0.17341 | 0.77 | 0.55 | 1095 | 23 | 1052 | 9.1 | 1031 | 7.3 | 94 | 1.26 | 166 | 210 | 46
EST112_011 | 12.1936 | 1.36 | 0.45982 | 0.78 | 0.57 | 2762 | 18 | 2619 | 12.7 | 2439 | 15.9 | 88 | 0.58 | 194 | 111 | 125
EST112_012 | 0.5281 | 1.51 | 0.06805 | 0.78 | 0.51 | 463 | 29 | 431 | 5.3 | 424 | 3.2 | 92 | 0.91 | 829 | 750 | 80
EST112_013 | 2.2729 | 1.33 | 0.20318 | 0.76 | 0.57 | 1225 | 21 | 1204 | 9.4 | 1192 | 8.3 | 97 | 0.66 | 584 | 386 | 160
EST112_014 | 1.8784 | 1.33 | 0.18136 | 0.76 | 0.57 | 1072 | 22 | 1074 | 8.8 | 1074 | 7.5 | 100 | 0.66 | 727 | 478 | 175
EST112_015 | 1.4613 | 2 | 0.15346 | 0.85 | 0.43 | 900 | 37 | 915 | 12 | 920 | 7.3 | 102 | 1.06 | 26 | 28 | 6
EST112_016 | 0.5823 | 1.41 | 0.07439 | 0.77 | 0.54 | 482 | 26 | 466 | 5.2 | 463 | 3.4 | 96 | 0.73 | 535 | 392 | 54
EST112_017 | 3.6111 | 2.05 | 0.25282 | 0.94 | 0.46 | 1689 | 33 | 1552 | 16.2 | 1453 | 12.2 | 86 | 1.74 | 16 | 28 | 7
EST112_018 | 1.9999 | 1.38 | 0.18553 | 0.77 | 0.55 | 1151 | 23 | 1116 | 9.3 | 1097 | 7.8 | 95 | 0.54 | 282 | 153 | 67
EST112_019 | 0.5551 | 1.43 | 0.07176 | 0.77 | 0.53 | 456 | 26 | 448 | 5.2 | 447 | 3.3 | 98 | 0.75 | 609 | 456 | 59
EST112_020 | 1.631 | 1.42 | 0.16177 | 0.77 | 0.54 | 1017 | 24 | 982 | 8.9 | 967 | 6.9 | 95 | 0.22 | 526 | 116 | 99
EST112_021 | 2.104 | 1.44 | 0.19273 | 0.78 | 0.54 | 1176 | 24 | 1150 | 9.9 | 1136 | 8.1 | 97 | 0.34 | 145 | 50 | 34
EST112_022 | 0.5656 | 1.62 | 0.07374 | 0.79 | 0.48 | 437 | 31 | 455 | 5.9 | 459 | 3.5 | 105 | 0.28 | 411 | 116 | 35
EST112_023 | 0.5774 | 1.57 | 0.07369 | 0.79 | 0.5 | 484 | 30 | 463 | 5.8 | 458 | 3.5 | 95 | 0.23 | 297 | 67 | 25
EST112_024 | 2.6141 | 1.78 | 0.21875 | 0.85 | 0.47 | 1353 | 30 | 1305 | 13 | 1275 | 9.8 | 94 | 0.88 | 18 | 16 | 6
EST112_025 | 1.4292 | 1.53 | 0.14748 | 0.79 | 0.52 | 937 | 27 | 901 | 9.1 | 887 | 6.5 | 95 | 0.39 | 124 | 48 | 22
EST112_026 | 0.6263 | 1.42 | 0.08071 | 0.77 | 0.54 | 463 | 26 | 494 | 5.5 | 500 | 3.7 | 108 | 0.67 | 1737 | 1165 | 184
EST112_027 | 4.0979 | 1.5 | 0.28869 | 1.03 | 0.68 | 1679 | 20 | 1654 | 12.2 | 1635 | 14.8 | 97 | 0.5 | 279 | 139 | 100
EST112_028 | 0.5874 | 1.51 | 0.07462 | 1.02 | 0.67 | 496 | 25 | 469 | 5.7 | 464 | 4.6 | 94 | 1.06 | 778 | 823 | 80
EST112_029 | 0.5921 | 1.65 | 0.07585 | 1.03 | 0.62 | 477 | 29 | 472 | 6.2 | 471 | 4.7 | 99 | 0.51 | 460 | 233 | 42
EST112_030 | 1.9805 | 1.57 | 0.18849 | 1.03 | 0.66 | 1101 | 24 | 1109 | 10.5 | 1113 | 10.5 | 101 | 0.38 | 114 | 43 | 25
EST112_031 | 1.5848 | 1.85 | 0.1603 | 1.06 | 0.57 | 979 | 31 | 964 | 11.5 | 959 | 9.5 | 98 | 0.35 | 29 | 10 | 5
EST112_032 | 0.5586 | 1.64 | 0.07132 | 1.02 | 0.62 | 484 | 29 | 451 | 6 | 444 | 4.4 | 92 | 0.6 | 414 | 249 | 37
EST112_033 | 3.1829 | 1.55 | 0.25448 | 1.03 | 0.66 | 1441 | 22 | 1453 | 11.9 | 1462 | 13.4 | 101 | 0.41 | 174 | 71 | 53
EST112_034 | 0.5718 | 1.85 | 0.07196 | 1.04 | 0.56 | 516 | 34 | 459 | 6.8 | 448 | 4.5 | 87 | 0.7 | 142 | 100 | 13
EST112_035 | 2.1256 | 1.52 | 0.19592 | 1.02 | 0.67 | 1166 | 22 | 1157 | 10.5 | 1153 | 10.8 | 99 | 0.42 | 167 | 70 | 40
EST112_036 | 11.9432 | 1.44 | 0.45184 | 1.02 | 0.7 | 2758 | 17 | 2600 | 13.4 | 2403 | 20.4 | 87 | 0.58 | 314 | 181 | 193
EST112_037 | 3.5989 | 1.48 | 0.27387 | 1.02 | 0.69 | 1535 | 20 | 1549 | 11.7 | 1560 | 14.1 | 102 | 0.5 | 190 | 96 | 65
EST112_038 | 0.5517 | 1.6 | 0.07193 | 1.03 | 0.64 | 439 | 27 | 446 | 5.7 | 448 | 4.4 | 102 | 0.65 | 429 | 281 | 39
EST112_039 | 1.9375 | 1.47 | 0.18569 | 1.02 | 0.69 | 1088 | 21 | 1094 | 9.8 | 1098 | 10.3 | 101 | 0.32 | 480 | 153 | 104
EST112_040 | 2.0626 | 1.51 | 0.19265 | 1.02 | 0.68 | 1139 | 22 | 1137 | 10.3 | 1136 | 10.6 | 100 | 0.64 | 253 | 163 | 62
EST112_041 | 10.3284 | 1.61 | 0.46564 | 1.07 | 0.66 | 2466 | 20 | 2465 | 14.8 | 2464 | 21.8 | 100 | 0.52 | 35 | 18 | 21
EST112_042 | 0.5835 | 1.58 | 0.07427 | 1.02 | 0.65 | 492 | 27 | 467 | 5.9 | 462 | 4.6 | 94 | 0.75 | 505 | 376 | 48
EST112_043 | 1.8127 | 1.49 | 0.18006 | 1.02 | 0.68 | 1016 | 22 | 1050 | 9.7 | 1067 | 10 | 105 | 0.3 | 272 | 83 | 57
EST112_044 | 0.6088 | 1.93 | 0.07862 | 1.06 | 0.55 | 459 | 36 | 483 | 7.4 | 488 | 5 | 106 | 0.15 | 178 | 26 | 15
EST112_045 | 4.9392 | 1.46 | 0.31384 | 1.01 | 0.69 | 1867 | 19 | 1809 | 12.3 | 1760 | 15.6 | 94 | 0.52 | 314 | 162 | 124
EST112_046 | 3.3001 | 1.47 | 0.25634 | 1.01 | 0.69 | 1497 | 20 | 1481 | 11.4 | 1471 | 13.4 | 98 | 0.41 | 266 | 108 | 83
EST112_047 | 1.7881 | 1.52 | 0.17361 | 1.02 | 0.67 | 1062 | 22 | 1041 | 9.8 | 1032 | 9.7 | 97 | 0.55 | 208 | 114 | 45
EST112_048 | 2.3129 | 1.53 | 0.20911 | 1.02 | 0.67 | 1204 | 22 | 1216 | 10.8 | 1224 | 11.4 | 102 | 1.6 | 145 | 232 | 47
EST112_049 | 3.4456 | 1.48 | 0.26793 | 1.02 | 0.68 | 1495 | 20 | 1515 | 11.6 | 1530 | 13.9 | 102 | 0.74 | 241 | 179 | 84
EST112_050 | 1.9819 | 1.52 | 0.18675 | 1.02 | 0.67 | 1122 | 22 | 1109 | 10.2 | 1104 | 10.3 | 98 | 0.53 | 230 | 122 | 53
EST112_051 | 0.5474 | 2.12 | 0.07127 | 1.07 | 0.5 | 442 | 40 | 443 | 7.6 | 444 | 4.6 | 100 | 0.66 | 140 | 93 | 13
EST112_052 | 4.5373 | 1.52 | 0.30951 | 1.02 | 0.67 | 1738 | 20 | 1738 | 12.6 | 1738 | 15.6 | 100 | 0.47 | 164 | 76 | 64
EST112_053 | 4.1367 | 1.55 | 0.29938 | 1.03 | 0.66 | 1629 | 21 | 1662 | 12.6 | 1688 | 15.3 | 104 | 1 | 62 | 62 | 25
EST112_054 | 0.5336 | 1.79 | 0.07122 | 1.04 | 0.58 | 386 | 32 | 434 | 6.3 | 444 | 4.4 | 115 | 0.43 | 162 | 70 | 14
EST112_055 | 0.574 | 1.9 | 0.07433 | 1.05 | 0.55 | 454 | 35 | 461 | 7 | 462 | 4.7 | 102 | 0.51 | 226 | 116 | 20
EST112_056 | 2.359 | 1.49 | 0.21077 | 1.02 | 0.68 | 1227 | 21 | 1230 | 10.6 | 1233 | 11.4 | 100 | 0.33 | 253 | 83 | 63
EST112_057 | 4.527 | 1.48 | 0.30966 | 1.01 | 0.69 | 1733 | 20 | 1736 | 12.2 | 1739 | 15.5 | 100 | 0.37 | 171 | 63 | 64
EST112_058 | 2.6553 | 1.49 | 0.22285 | 1.01 | 0.68 | 1349 | 21 | 1316 | 10.9 | 1297 | 11.9 | 96 | 0.63 | 241 | 151 | 68
EST112_059 | 2.222 | 1.49 | 0.20329 | 1.01 | 0.68 | 1180 | 21 | 1188 | 10.4 | 1193 | 11 | 101 | 0.35 | 268 | 95 | 64
EST112_060 | 0.5642 | 1.72 | 0.07151 | 1.02 | 0.59 | 501 | 30 | 454 | 6.3 | 445 | 4.4 | 89 | 0.77 | 175 | 135 | 16
EST112_061 | 0.559 | 1.56 | 0.07286 | 1.02 | 0.65 | 440 | 26 | 451 | 5.7 | 453 | 4.4 | 103 | 0.9 | 770 | 693 | 75
EST112_062 | 0.6375 | 1.94 | 0.07924 | 1.05 | 0.54 | 544 | 35 | 501 | 7.6 | 492 | 5 | 90 | 0.36 | 148 | 54 | 14
EST112_063 | 1.5461 | 1.63 | 0.15832 | 1.02 | 0.63 | 954 | 26 | 949 | 10 | 947 | 9 | 99 | 0.79 | 98 | 78 | 20
EST112_064 | 2.3571 | 1.48 | 0.2094 | 1.01 | 0.68 | 1238 | 21 | 1230 | 10.5 | 1226 | 11.3 | 99 | 0.18 | 377 | 70 | 90
EST112_065 | 0.6008 | 1.58 | 0.07674 | 1.02 | 0.64 | 484 | 27 | 478 | 6 | 477 | 4.7 | 99 | 0.18 | 372 | 67 | 32
EST112_066 | 0.6109 | 2.06 | 0.07809 | 1.06 | 0.52 | 482 | 39 | 484 | 7.9 | 485 | 5 | 101 | 0.64 | 148 | 95 | 14
EST112_067 | 4.8495 | 1.45 | 0.3308 | 1 | 0.69 | 1738 | 19 | 1794 | 12.1 | 1842 | 16.1 | 106 | 0.43 | 901 | 384 | 365
EST112_068 | 0.5661 | 1.51 | 0.07354 | 1.01 | 0.67 | 447 | 25 | 456 | 5.5 | 457 | 4.4 | 102 | 1.02 | 791 | 809 | 79
EST112_069 | 0.6312 | 1.51 | 0.08044 | 1.01 | 0.67 | 489 | 25 | 497 | 5.9 | 499 | 4.8 | 102 | 0.17 | 934 | 161 | 83
EST112_071 | 1.4216 | 1.36 | 0.14863 | 0.81 | 0.6 | 910 | 22 | 898 | 8.1 | 893 | 6.8 | 98 | 0.4 | 345 | 137 | 160
EST112_072 | 1.5713 | 1.6 | 0.16414 | 0.85 | 0.53 | 912 | 28 | 959 | 9.9 | 980 | 7.8 | 107 | 0.26 | 342 | 91 | 63
EST112_073 | 0.5149 | 1.42 | 0.06603 | 0.82 | 0.57 | 474 | 26 | 422 | 4.9 | 412 | 3.3 | 87 | 0.01 | 1468 | 10 | 90
EST112_074 | 13.2738 | 1.34 | 0.50859 | 0.82 | 0.61 | 2736 | 17 | 2699 | 12.6 | 2651 | 17.8 | 97 | 0.3 | 222 | 66 | 68
EST112_075 | 4.0398 | 1.41 | 0.27022 | 0.83 | 0.59 | 1773 | 21 | 1642 | 11.4 | 1542 | 11.4 | 87 | 1.68 | 185 | 311 | 6
EST112_076 | 12.5928 | 1.35 | 0.49248 | 0.82 | 0.61 | 2702 | 18 | 2650 | 12.6 | 2581 | 17.5 | 96 | 2.21 | 139 | 308 | 37
EST112_077 | 3.4175 | 1.41 | 0.25646 | 0.83 | 0.59 | 1561 | 21 | 1508 | 11 | 1472 | 11 | 94 | 0.5 | 116 | 59 | 53
EST112_078 | 1.3872 | 1.52 | 0.14319 | 0.85 | 0.56 | 936 | 26 | 884 | 8.9 | 863 | 6.8 | 92 | 0.36 | 155 | 57 | 84
EST112_070 | 1.9069 | 1.59 | 0.18595 | 1.02 | 0.64 | 1053 | 25 | 1084 | 10.6 | 1099 | 10.3 | 104 | 0.98 | 135 | 133 | 34
EST112_079 | 1.8254 | 1.52 | 0.17312 | 1.01 | 0.66 | 1109 | 22 | 1055 | 9.9 | 1029 | 9.6 | 93 | 0.47 | 203 | 94 | 43
EST112_080 | 2.9423 | 1.53 | 0.24057 | 1.01 | 0.66 | 1399 | 22 | 1393 | 11.5 | 1390 | 12.7 | 99 | 0.59 | 121 | 72 | 37
EST112_081 | 0.6096 | 1.56 | 0.07803 | 1.01 | 0.65 | 479 | 26 | 483 | 6 | 484 | 4.7 | 101 | 0.33 | 399 | 130 | 36
EST112_082 | 0.6263 | 1.64 | 0.07912 | 1.01 | 0.62 | 509 | 28 | 494 | 6.4 | 491 | 4.8 | 97 | 0.69 | 431 | 298 | 43
EST112_083 | 3.4799 | 1.64 | 0.2607 | 1.03 | 0.63 | 1565 | 24 | 1523 | 12.8 | 1493 | 13.8 | 95 | 0.86 | 43 | 37 | 15
EST112_084 | 1.9345 | 1.53 | 0.18452 | 1.01 | 0.66 | 1097 | 23 | 1093 | 10.2 | 1092 | 10.1 | 99 | 0.27 | 347 | 95 | 74
EST112_085 | 1.8347 | 1.56 | 0.18199 | 1.01 | 0.65 | 1019 | 24 | 1058 | 10.2 | 1078 | 10 | 106 | 0.53 | 146 | 77 | 33
EST112_086 | 6.9993 | 1.55 | 0.38709 | 1.02 | 0.66 | 2114 | 20 | 2111 | 13.6 | 2109 | 18.4 | 100 | 0.45 | 44 | 20 | 22
EST112_087 | 0.5727 | 1.7 | 0.07367 | 1.02 | 0.6 | 468 | 30 | 460 | 6.3 | 458 | 4.5 | 98 | 0.5 | 298 | 149 | 27
EST112_088 | 1.9034 | 1.56 | 0.18109 | 1.01 | 0.65 | 1102 | 24 | 1082 | 10.4 | 1073 | 10 | 97 | 0.39 | 228 | 89 | 49
EST112_089 | 11.005 | 1.52 | 0.48947 | 1.03 | 0.67 | 2489 | 19 | 2524 | 14.1 | 2568 | 21.7 | 103 | 0.51 | 55 | 28 | 35
EST112_090 | 2.0954 | 1.54 | 0.19661 | 1.01 | 0.65 | 1130 | 23 | 1147 | 10.5 | 1157 | 10.7 | 102 | 0.4 | 243 | 97 | 57
EST112_091 | 4.515 | 1.5 | 0.3037 | 1.01 | 0.67 | 1764 | 20 | 1734 | 12.4 | 1710 | 15.1 | 97 | 0.54 | 292 | 156 | 112
EST112_092 | 2.1562 | 1.49 | 0.20139 | 1 | 0.67 | 1139 | 22 | 1167 | 10.3 | 1183 | 10.8 | 104 | 0.32 | 271 | 86 | 64
EST112_093 | 0.5343 | 1.84 | 0.06855 | 1.04 | 0.56 | 474 | 34 | 435 | 6.5 | 427 | 4.3 | 90 | 0.91 | 308 | 280 | 28
EST112_094 | 9.7325 | 1.51 | 0.40003 | 1.02 | 0.68 | 2621 | 18 | 2410 | 13.8 | 2169 | 18.7 | 83 | 0.39 | 150 | 58 | 78
EST112_095 | 0.5276 | 1.65 | 0.06855 | 1.01 | 0.61 | 446 | 29 | 430 | 5.8 | 427 | 4.2 | 96 | 0.91 | 354 | 322 | 33
EST112_096 | 1.6546 | 1.82 | 0.1677 | 1.04 | 0.57 | 975 | 30 | 991 | 11.5 | 999 | 9.7 | 103 | 0.65 | 70 | 45 | 15
EST112_097 | 0.5499 | 1.57 | 0.07153 | 1.01 | 0.64 | 444 | 26 | 445 | 5.6 | 445 | 4.3 | 100 | 0.51 | 412 | 209 | 36
EST112_098 | 4.6878 | 1.49 | 0.30785 | 1 | 0.68 | 1808 | 20 | 1765 | 12.4 | 1730 | 15.2 | 96 | 0.94 | 168 | 158 | 71
EST112_099 | 0.6199 | 1.65 | 0.07932 | 1.01 | 0.61 | 480 | 29 | 490 | 6.4 | 492 | 4.8 | 103 | 0.91 | 687 | 627 | 73
EST112_100 | 1.8104 | 1.61 | 0.17627 | 1.02 | 0.63 | 1056 | 25 | 1049 | 10.5 | 1047 | 9.8 | 99 | 0.91 | 116 | 106 | 28